{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["Potencia Inst y Efect","Clasificacion","Datos"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":13,"defined_names":375,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Potencia Inst y Efect","index":0,"n_rows":41,"n_cols":23,"rows_kept":41,"cut":false,"hidden":false,"merged":[[1,1,1,22],[2,1,2,22],[5,8,5,16],[5,18,5,22],[6,8,6,11],[6,13,6,16],[6,19,6,22]]}
[]
[null,"Sistemas Aislados"]
[null,"Potencia instalada y efectiva al 31 de diciembre de 2018"]
[]
[1,{"$f":"+A5+1","v":2},3,4,5,6,7,8,9,10,11,12,13,14,15,16,17,18,19,20,21,22,23]
[{"$nulls":8},"Potencia Instalada",{"$nulls":9},"Potencia Efectiva a Temp. media"]
[null,"Departamento","Provincia","Sistema Electrico","Empresa","Combustible",null,"Central","(MVA)",{"$nulls":4},"(MW)",{"$nulls":4},"°C","(MW)"]
[{"$nulls":8},"Hidro","Termo","E. Alternativas","Total",null,"Hidro","Termo","E. Alternativas","Total",null,null,"Hidro","Termo","E. Alternativas","Total"]
[1,"Pando","Nicolas Suarez","Cobija","ENDE","Diesel",null,"Cobija",null,28.199999999999996,null,28.199999999999996,null,null,22.560000000000002,null,22.560000000000002,null,"40°",null,19.500000000000004,null,19.500000000000004]
[2,"Pando","Madre de Dios","El Sena","ENDE","Diesel",null,"El Sena",null,2.7669999999999999,null,2.7669999999999999,null,null,2.2160000000000002,null,2.2160000000000002,null,"40°",null,1.2999999999999998,null,1.2999999999999998]
[3,"Pando","Madre de Dios","Puerto Gonzalo Moreno","ENDE","Diesel",null,null,null,{"$f":"O11*(J10/O10)","v":1.6856723826714799},null,{"$f":"+J11","v":1.6856723826714799},null,null,1.35,null,{"$f":"SUM(O10:P10)","v":2.2160000000000002},null,"40°",null,{"$f":"O11*(U10/O10)","v":0.79196750902527069},null,{"$f":"SUM(U11:V11)","v":0.79196750902527069}]
[4,"Pando","Federico Roman","Municipio de Villa Nueva","ENDE","Diesel",null,null,null,{"$f":"O12*(J11/O11)","v":1.1237815884476532},null,{"$f":"+J12","v":1.1237815884476532},null,null,0.9,null,{"$f":"SUM(O11:P11)","v":1.35},null,"40°",null,{"$f":"O12*(U11/O11)","v":0.52797833935018046},null,{"$f":"SUM(U12:V12)","v":0.52797833935018046}]
["S1","Pando","Nicolas Suarez","Planta Solar Cobija","ENDE Guaracachi S.A.","Solar",null,"Planta Solar Cobija",null,null,5.0999999999999996,5.0999999999999996,null,null,null,5.0999999999999996,5.0999999999999996,null,"31°",null,null,4.8,4.8]
["S2","Pando","Madre de Dios","Planta Solar El Sena","ENDE Guaracachi S.A.","Solar",null,"Planta Solar El sena",null,null,0.4,{"$nulls":4},0.4]
[{"$nulls":7},"Total Pando",null,{"$f":"SUM(J9:J14)","v":33.776453971119132},{"$f":"SUM(K9:K14)","v":5.5},{"$f":"SUM(L9:L14)","v":38.876453971119133},null,null,{"$f":"SUM(O9:O14)","v":27.026000000000003},{"$f":"SUM(P9:P14)","v":5.5},{"$f":"SUM(Q9:Q14)","v":33.442000000000007},null,null,null,{"$f":"SUM(U9:U14)","v":22.119945848375455},{"$f":"SUM(V9:V14)","v":4.8},{"$f":"SUM(W9:W14)","v":26.919945848375455}]
[5,"Beni","Vaca Diez","Riberalta","CER Ltda.","Diesel",null,"El Palmar",null,22.029999999999998,null,22.029999999999998,null,null,16.120000000000005,null,16.120000000000005,null,"37°",null,15.779999999999992,null,15.779999999999992]
[{"$f":"+A16+1","v":6},"Beni","Vaca Diez","Guayaramerín","ENDE DELBENI S.A.M.","Diesel",null,"Guayaramerín",null,22.349999999999994,null,22.349999999999994,null,null,17.254999999999995,null,17.254999999999995,null,"36°",null,15.446000000000002,null,15.446000000000002]
[7,"Beni","Vaca Diez","Cachuela Esperanza","ENDE DELBENI S.A.M.","Diesel",null,"Cachuela Esperanza",null,0.80899999999999994,null,0.80899999999999994,null,null,0.64700000000000002,null,0.64700000000000002,null,"36°",null,0.51760000000000006,null,0.51760000000000006]
[8,"Beni","Vaca Diez","Rosario del Yata","ENDE DELBENI S.A.M.","Diesel",null,"Rosario del Yata",null,1.2080000000000002,null,1.2080000000000002,null,null,0.96640000000000004,null,0.96640000000000004,null,"36°",null,0.77312000000000014,null,0.77312000000000014]
[9,"Beni","Mamore","Puerto Ustárez","ENDE DELBENI S.A.M.","Diesel",null,"Puerto Ustárez",null,0.23499999999999999,null,0.23499999999999999,null,null,0.188,null,0.188,null,"34°",null,0.14100000000000001,null,0.14100000000000001]
[10,"Beni","Itenez","Baures","ENDE DELBENI S.A.M.","Diesel",null,"Baures",null,2.2630000000000003,null,2.2630000000000003,null,null,1.8100000000000003,null,1.8100000000000003,null,"33°",null,1.4330000000000001,null,1.4330000000000001]
[11,"Beni","Itenez","Bella Vista","ENDE DELBENI S.A.M.","Diesel",null,"Bella Vista",null,1.774,null,1.774,null,null,1.4260000000000002,null,1.4260000000000002,null,"33°",null,1.111,null,1.111]
[12,"Beni","Itenez","Huacaraje","ENDE DELBENI S.A.M.","Diesel",null,"Huacaraje",null,0.58000000000000007,null,0.58000000000000007,null,null,0.46400000000000002,null,0.46400000000000002,null,"33°",null,0.39800000000000002,null,0.39800000000000002]
[13,"Beni","Itenez","El Carmen","ENDE DELBENI S.A.M.","Diesel",null,"El Carmen de Iténez",null,0.16,null,0.16,null,null,0.128,null,0.128,null,"32°",null,9.6000000000000002E-2,null,9.6000000000000002E-2]
[14,"Beni","Yacuma","Exaltación","ENDE DELBENI S.A.M.","Diesel",null,"Exaltación",null,0.35,null,0.35,null,null,0.28000000000000003,null,0.28000000000000003,null,"36°",null,0.23,null,0.23]
[{"$nulls":7},"Total Beni",null,{"$f":"SUM(J16:J25)","v":51.758999999999986},{"$f":"SUM(K16:K25)","v":0},{"$f":"SUM(L16:L25)","v":51.758999999999986},null,null,{"$f":"SUM(O16:O25)","v":39.284400000000005},{"$f":"SUM(P16:P25)","v":0},{"$f":"SUM(Q16:Q25)","v":39.284400000000005},null,null,null,{"$f":"SUM(U16:U25)","v":35.925719999999984},{"$f":"SUM(V16:V25)","v":0},{"$f":"SUM(W16:W25)","v":35.925719999999984}]
[{"$f":"+A25+1","v":15},"Santa Cruz","Angel Sandoval","San Matías","ENDE Guaracachi S.A.","Gas",null,"San Matías",null,10.555999999999999,null,10.555999999999999,null,null,8.68,null,8.68,null,"25°",null,7.3220000000000001,null,7.3220000000000001]
[{"$f":"+A27+1","v":16},"Santa Cruz","Cordillera","Camiri","CRE Ltda.","Gas",null,"Cordillera",null,15.83,null,15.83,null,null,12.673999999999999,null,12.673999999999999,null,"35,5°",null,11.75,null,11.75]
[17,"Santa Cruz","Guarayos","Las Misiones","CRE Ltda.","Gas/Diesel",null,"Las Misiones",null,27.8,null,27.8,null,null,21.349999999999994,null,21.349999999999994,null,"32°",null,19.05,null,19.05]
[18,"Santa Cruz","Chiquitos","Roboré y Santiago de Chiquitos","CRE Ltda.","Gas",null,"Chiquitos",null,9.879999999999999,null,9.879999999999999,null,null,7.54,null,7.54,null,"35°",null,7.2,null,7.2]
[19,"Santa Cruz","Jose Miguel de Velasco","San Ignacio de Velasco","CRE Ltda.","Diesel",null,"San Ignacio de Velasco",null,9.8000000000000007,null,9.8000000000000007,null,null,7.84,null,7.84,null,"30°",null,6.7919999999999998,null,6.7919999999999998]
[20,"Santa Cruz","Vallegrande","Valles Cruceños","CRE Ltda.","Gas",null,"Valles",null,14.547500000000001,null,14.547500000000001,null,null,11.637999999999998,null,11.637999999999998,null,"35°",null,9.56,null,9.56]
[21,"Santa Cruz","Cordillera","Charagua","CRE Ltda.","Gas",null,"Charagua",null,3.13,null,3.13,null,null,2.5539999999999998,null,2.5539999999999998,null,"35°",null,2.19,null,2.19]
[22,"Santa Cruz","German Bush","German Busch","CRE Ltda.","Gas",null,"German Busch",null,28.984999999999999,null,28.984999999999999,null,null,23.199999999999996,null,23.199999999999996,null,"33,5°",null,19.099999999999998,null,19.099999999999998]
[23,"Santa Cruz","Cordillera","El Espino","CRE Ltda.","Solar/Diesel",null,"(1) El Espino",null,0.08,0.06,0.14000000000000001,null,null,6.4000000000000001E-2,0.06,0.124,null,"35,5°",null,6.5000000000000002E-2,5.8999999999999997E-2,0.124]
[{"$nulls":7},"Total Santa Cruz",null,{"$f":"SUM(J27:J35)","v":120.60849999999999},{"$f":"SUM(K27:K35)","v":0.06},{"$f":"SUM(L27:L35)","v":120.66849999999999},null,null,{"$f":"SUM(O27:O35)","v":95.539999999999964},{"$f":"SUM(P27:P35)","v":0.06},{"$f":"SUM(Q27:Q35)","v":95.599999999999966},null,null,null,{"$f":"SUM(U27:U35)","v":83.028999999999996},{"$f":"SUM(V27:V35)","v":5.8999999999999997E-2},{"$f":"SUM(W27:W35)","v":83.087999999999994}]
[{"$f":"+A35+1","v":24},"Tarija","Aniceto Arce","Bermejo","SETAR","Gas",null,"Bermejo ",null,18.055999999999997,null,18.055999999999997,null,null,14.443999999999999,null,14.443999999999999,null,"30°",null,11.55,null,11.55]
[{"$f":"+A37+1","v":25},"Tarija","Burnet O'Connor","Entre Rios","SETAR","Gas",null,"Entre Ríos ",null,2.9739999999999998,null,2.9739999999999998,null,null,2.6999999999999997,null,2.6999999999999997,null,"25°",null,2.2799999999999998,null,2.2799999999999998]
[{"$f":"+A38+1","v":26},"Tarija","Eustaquio Mendez","El Puente","Gas & Electricidad S.A.","Gas",null,"El Puente",null,2.2000000000000002,null,2.2000000000000002,null,null,1.92,null,1.92,null,"25°",null,1.6,null,1.6]
[{"$nulls":7},"Total Tarija",null,{"$f":"SUM(J37:J39)","v":23.229999999999997},{"$f":"SUM(K37:K39)","v":0},{"$f":"SUM(L37:L39)","v":23.229999999999997},null,null,{"$f":"SUM(O37:O39)","v":19.064},{"$f":"SUM(P37:P39)","v":0},{"$f":"SUM(Q37:Q39)","v":19.064},null,null,null,{"$f":"SUM(U37:U39)","v":15.43},{"$f":"SUM(V37:V39)","v":0},{"$f":"SUM(W37:W39)","v":15.43}]
[{"$nulls":7},"Total Bolivia",null,{"$f":"+J40+J36+J26+J15","v":229.37395397111911},{"$f":"+K40+K36+K26+K15","v":5.56},{"$f":"+L40+L36+L26+L15","v":234.5339539711191},null,null,{"$f":"+O40+O36+O26+O15","v":180.91439999999997},{"$f":"+P40+P36+P26+P15","v":5.56},{"$f":"+Q40+Q36+Q26+Q15","v":187.39039999999997},null,null,null,{"$f":"+U40+U36+U26+U15","v":156.50466584837545},{"$f":"+V40+V36+V26+V15","v":4.859},{"$f":"+W40+W36+W26+W15","v":161.36366584837543}]

{"sheet":"Clasificacion","index":1,"n_rows":32,"n_cols":35,"rows_kept":32,"cut":false,"hidden":false,"merged":[[13,28,17,28],[14,21,30,21],[18,28,30,28],[2,1,2,4],[3,1,3,4],[5,14,9,14],[5,21,7,21],[5,28,8,28],[8,21,13,21],[9,28,12,28],[10,14,12,14],[13,14,30,14]]}
[]
[]
[null,"Demanda Máxima (kW) y Número de Consumidores de los sistemas Aislados"]
[null,"Gestión 2018"]
[null,"Empresa \nEléctrica","Sistema","Demanda \nMáxima (kW)","Número de \nConsumidores","Combustible","Potencia Instalada (MW)",null,null,"Sistema","Demanda \nMáxima      (kW)","Número de \nConsumidores","Combustible","Potencia Instalada (MW)",null,null,"Sistema","Demanda \nMáxima      (kW)","Número de \nConsumidores","Combustible","Potencia Instalada (MW)",null,null,"Sistema","Demanda \nMáxima      (kW)","Número de \nConsumidores","Combustible","Potencia Instalada (MW)",null,null,"Sistema","Demanda \nMáxima      (kW)","Número de \nConsumidores","Combustible","Potencia Instalada (MW)"]
[1,"ENDE","Cobija",12360,17092,{"$f":"+F19","v":"Diesel/Solar"},27.660000000000004,null,null,"Cobija",12360,17092,"Diesel/Solar",27.660000000000004,"> a 15 MW",null,"Cobija",12360,17092,"Diesel/Solar",27.660000000000004,"> 10 MW",null,"Las Misiones",11739.855209350586,28263,"Diesel / Gas",21.349999999999994,"> a 15000 consumidores",null,"Riberalta",9824,21407,"Diesel",16.12]
[{"$f":"+A6+1","v":2},null,"El Sena",673,976,{"$f":"+F19","v":"Diesel/Solar"},2.2160000000000002,null,null,"German Busch",10252.709999999999,10771,"Gas",23.199999999999996,null,null,"Las Misiones",11739.855209350586,28263,"Diesel / Gas",21.349999999999994,null,null,"Valles Cruceños",6340.8040000000001,23104,"Gas",11.637999999999998,null,null,"San Ignacio de Velasco",5050.6779999999999,12184,"Diesel",7.84]
[{"$f":"+A7+1","v":3},null,"Gonzalo Moreno",null,20,"Diesel",2.2160000000000002,null,null,"Las Misiones",11739.855209350586,28263,"Diesel / Gas",21.349999999999994,null,null,"German Busch",10252.709999999999,10771,"Gas",23.199999999999996,null,null,"Riberalta",9824,21407,"Diesel",16.12,null,null,"Guayaramerín",5140,9030,"Diesel",17.254999999999995]
[4,null,"Villa Nueva",null,196,"Diesel",1.35,null,null,"Guayaramerín",5140,9030,"Diesel",17.254999999999995,null,null,"Riberalta",9824,21407,"Diesel",16.12,"Entre 5 y 10 MW",null,"Cobija",12360,17092,"Diesel/Solar",27.660000000000004,null,null,"Baures",210,953,"Diesel",1.8100000000000003]
[5,null,"Guayaramerín",5140,9030,"Diesel",17.254999999999995,null,null,"Riberalta",9824,21407,"Diesel",16.12,null,null,"Cordillera",6377.9699999999993,14957,"Gas",12.673999999999999,null,null,"Cordillera",6377.9699999999993,14957,"Gas",12.673999999999999,"Entre 10000 y 15000 consumidores",null,"Bella Vista",202,702,"Diesel",1.4260000000000002]
[6,null,"Cachuela Esperanza",47,148,"Diesel",0.64700000000000002,null,null,"Bermejo",6100,12941,"Gas",14.443999999999999,"10 a 15 MW",null,"Valles Cruceños",6340.8040000000001,23104,"Gas",11.637999999999998,null,null,"Bermejo",6100,12941,"Gas",14.443999999999999,null,null,"Huacaraje",159,505,"Diesel",0.46400000000000002]
[7,null,"Rosario del Yata",48,148,"Diesel",0.96640000000000004,null,null,"Cordillera",6377.9699999999993,14957,"Gas",12.673999999999999,null,null,"Bermejo",6100,12941,"Gas",14.443999999999999,null,null,"San Ignacio de Velasco",5050.6779999999999,12184,"Diesel",7.84,null,null,"El Carmen de Itenez",77.3,218,"Diesel",0.128]
[8,null,"Puerto Ustarez",8.91,38,"Diesel",0.188,null,null,"Valles Cruceños",6340.8040000000001,23104,"Gas",11.637999999999998,null,null,"Guayaramerín",5140,9030,"Diesel",17.254999999999995,null,null,"German Busch",10252.709999999999,10771,"Gas",23.199999999999996,null,null,"Villa Nueva","Sin datos",196,"Diesel",1.35]
[9,"ENDE DELBENI S.A.M.","Baures",210,953,"Diesel",1.8100000000000003,null,null,"San Matías",1676.7,2875,"Gas",8.68,"< a 10 MW",null,"San Ignacio de Velasco",5050.6779999999999,12184,"Diesel",7.84,null,null,"Guayaramerín",5140,9030,"Diesel",17.254999999999995,"Entre 1000 y 10000 consumidores",null,"Exaltación",74,159,"Diesel",0.28000000000000003]
[10,null,"Bella Vista",202,702,"Diesel",1.4260000000000002,null,null,"San Ignacio de Velasco",5050.6779999999999,12184,"Diesel",7.84,null,null,"Chiquitos",4380.2179999999998,8470,"Gas",7.54,"Menor a 5 MW",null,"Chiquitos",4380.2179999999998,8470,"Gas",7.54,null,null,"Rosario del Yata",48,148,"Diesel",0.96640000000000004]
[11,null,"Huacaraje",159,505,"Diesel",0.46400000000000002,null,null,"Chiquitos",4380.2179999999998,8470,"Gas",7.54,null,null,"Entre Ríos",1700,5436,"Gas",2.6999999999999997,null,null,"Entre Ríos",1700,5436,"Gas",2.6999999999999997,null,null,"Cachuela Esperanza",47,148,"Diesel",0.64700000000000002]
[12,null,"El Carmen de Itenez",77.3,218,"Diesel",0.128,null,null,"Entre Ríos",1700,5436,"Gas",2.6999999999999997,null,null,"San Matías",1676.7,2875,"Gas",8.68,null,null,"Charagua",1107,3253,"Gas",2.5539999999999998,null,null,"Puerto Ustarez",8.91,38,"Diesel",0.188]
[13,null,"Exaltación",74,159,"Diesel",0.28000000000000003,null,null,"Charagua",1107,3253,"Gas",2.5539999999999998,null,null,"Charagua",1107,3253,"Gas",2.5539999999999998,null,null,"San Matías",1676.7,2875,"Gas",8.68,null,null,"Gonzalo Moreno","Sin datos",20,"Diesel",2.2160000000000002]
[14,"CRE R.L.","El Espino",31.62,133,"Diesel/Solar",0.124,null,null,"El Sena",673,976,"Diesel/Solar",2.2160000000000002,null,null,"El Sena",673,976,"Diesel/Solar",2.2160000000000002,null,null,"El Sena",673,976,"Diesel/Solar",2.2160000000000002,"Menores a 1000 consumidores",null,"Las Misiones",11739.855209350586,28263,"Diesel / Gas",21.349999999999994]
[15,null,"Charagua",1107,3253,"Gas",2.5539999999999998,null,null,"Gonzalo Moreno","Sin datos",20,"Diesel",2.2160000000000002,null,null,"Baures",210,953,"Diesel",1.8100000000000003,null,null,"Baures",210,953,"Diesel",1.8100000000000003,null,null,"Cobija",12360,17092,"Diesel/Solar",27.660000000000004]
[16,null,"Chiquitos",4380.2179999999998,8470,"Gas",7.54,null,null,"EL Puente","Sin datos","Sin datos","Gas",1.92,null,null,"Bella Vista",202,702,"Diesel",1.4260000000000002,null,null,"Bella Vista",202,702,"Diesel",1.4260000000000002,null,null,"El Sena",673,976,"Diesel/Solar",2.2160000000000002]
[17,null,"San Ignacio de Velasco",5050.6779999999999,12184,"Diesel",7.84,null,null,"Baures",210,953,"Diesel",1.8100000000000003,null,null,"Huacaraje",159,505,"Diesel",0.46400000000000002,null,null,"Huacaraje",159,505,"Diesel",0.46400000000000002,null,null,"El Espino",31.62,133,"Diesel/Solar",0.124]
[18,null,"Cordillera",6377.9699999999993,14957,"Gas",12.673999999999999,null,null,"Bella Vista",202,702,"Diesel",1.4260000000000002,null,null,"El Carmen de Itenez",77.3,218,"Diesel",0.128,null,null,"El Carmen de Itenez",77.3,218,"Diesel",0.128,null,null,"Valles Cruceños",6340.8040000000001,23104,"Gas",11.637999999999998]
[19,null,"Valles Cruceños",6340.8040000000001,23104,"Gas",11.637999999999998,null,null,"Villa Nueva",0,196,"Diesel",1.35,null,null,"Exaltación",74,159,"Diesel",0.28000000000000003,null,null,"Villa Nueva","Sin datos",196,"Diesel",1.35,null,null,"Cordillera",6377.9699999999993,14957,"Gas",12.673999999999999]
[20,null,"Las Misiones",11739.855209350586,28263,"Diesel / Gas",21.349999999999994,null,null,"Rosario del Yata",48,148,"Diesel",0.96640000000000004,null,null,"Rosario del Yata",48,148,"Diesel",0.96640000000000004,null,null,"Exaltación",74,159,"Diesel",0.28000000000000003,null,null,"Bermejo",6100,12941,"Gas",14.443999999999999]
[21,null,"German Busch",10252.709999999999,10771,"Gas",23.199999999999996,null,null,"Cachuela Esperanza",47,148,"Diesel",0.64700000000000002,null,null,"Cachuela Esperanza",47,148,"Diesel",0.64700000000000002,null,null,"Rosario del Yata",48,148,"Diesel",0.96640000000000004,null,null,"German Busch",10252.709999999999,10771,"Gas",23.199999999999996]
[22,"CER","Riberalta",9824,21407,"Diesel",16.120000000000005,null,null,"Huacaraje",159,505,"Diesel",0.46400000000000002,null,null,"El Espino",31.62,133,"Diesel/Solar",0.124,null,null,"Cachuela Esperanza",47,148,"Diesel",0.64700000000000002,null,null,"Chiquitos",4380.2179999999998,8470,"Gas",7.54]
[23,"SETAR","Bermejo",6100,12941,"Gas",14.443999999999999,null,null,"Exaltación",74,159,"Diesel",0.28000000000000003,null,null,"Puerto Ustarez",8.91,38,"Diesel",0.188,null,null,"El Espino",31.62,133,"Diesel/Solar",0.124,null,null,"Entre Ríos",1700,5436,"Gas",2.6999999999999997]
[24,null,"Entre Ríos",1700,5436,"Gas",2.6999999999999997,null,null,"Puerto Ustarez",8.91,38,"Diesel",0.188,null,null,"Gonzalo Moreno","Sin datos",20,"Diesel",2.2160000000000002,null,null,"Puerto Ustarez",8.91,38,"Diesel",0.188,null,null,"Charagua",1107,3253,"Gas",2.5539999999999998]
[25,null,"EL Puente",null,null,"Gas",1.92,null,null,"El Carmen de Itenez",77.3,218,"Diesel",0.128,null,null,"EL Puente",{"$f":"+R29","v":"Sin datos"},{"$f":"+R30","v":"Sin datos"},"Gas",1.92,null,null,"Gonzalo Moreno","Sin datos",20,"Diesel",2.2160000000000002,null,null,"San Matías",1676.7,2875,"Gas",8.68]
[26,"ENDE GUARACACHI S.A.","San Matías",1676.7,2875,"Gas",8.68,null,null,"El Espino",31.62,133,"Diesel/Solar",0.124,null,null,"Villa Nueva",{"$f":"+R30","v":"Sin datos"},196,"Diesel",1.35,null,null,"EL Puente","Sin datos","Sin datos","Gas",1.92,null,null,"EL Puente","Sin datos","Sin datos","Gas",1.92]
[null,"TOTAL",null,null,{"$f":"SUM(E6:E27)+SUM(E28:E31)","v":173979},null,187.39039999999997,null,null,"Totales",{"$f":"SUM(K6:K31)","v":83580.765209350575},{"$f":"SUM(L6:L31)","v":173979},null,187.39039999999994,null,null,"Totales",{"$f":"SUM(R6:R31)","v":83580.765209350575},{"$f":"SUM(S6:S31)","v":173979},null,{"$f":"SUM(U6:U31)","v":187.39039999999994},null,null,"Totales",{"$f":"SUM(Y6:Y31)","v":83580.765209350589},{"$f":"SUM(Z6:Z31)","v":173979},null,{"$f":"SUM(AB6:AB31)","v":187.39039999999994},null,null,"Totales",{"$f":"SUM(AF6:AF31)","v":83580.765209350575},{"$f":"SUM(AG6:AG31)","v":173979},null,{"$f":"SUM(AI6:AI31)","v":187.39039999999994}]

{"sheet":"Datos","index":2,"n_rows":121,"n_cols":8,"rows_kept":121,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,"Potencia  Instalada (MW)"]
[null,"Sistema",null,2014,2015,2016,2017,2018]
[null,"Cobija","MW",20.61,25,25,24.16,22.560000000000002]
[null,"Riberalta","MW",10.079999999999998,10.08,15.75,16.05,16.120000000000005]
[null,"San Ignacio de Velasco","MW",8.2040000000000006,8.2040000000000006,8.2040000000000006,8.2040000000000006,7.84]
[null,"Las Misiones","MW",17.149999999999999,17.149999999999999,21.349999999999994,21.349999999999994,21.349999999999994]
[null,"Valles Cruceños","MW",7.64,7.64,9.64,11.637999999999998,11.637999999999998]
[null,"Camiri","MW",7.2499999999999991,7.9,9.06,10.866,12.673999999999999]
[null,"German Busch","MW",20.999999999999996,20.999999999999996,20.999999999999996,20.999999999999996,23.199999999999996]
[null,"Bermejo","MW",10.199000000000002,9.23,12.22,15.419,14.443999999999999]
[null,"Chiquitos","MW",5.84,5.84,5.84,5.84,7.54]
[null,"Huacaraje","MW",null,null,0.56999999999999995,0.69499999999999995,0.46400000000000002]
[null,"Rosario del Yata","MW",null,null,null,0.2,0.96640000000000004]
[null,"El Sena","MW",null,1.42,2.2160000000000002,2.2160000000000002,2.2160000000000002]
[]
[]
[null,null,null,"Potencia Efectiva a temperatura media (MW)"]
[null,"Sistema",null,2014,2015,2016,2017,2018]
[null,"Cobija","MW",15.96,19.260000000000002,19.66,19.2,19.500000000000004]
[null,"Riberalta","MW",9.2700000000000014,9.27,15.26,15.709999999999992,15.779999999999992]
[null,"San Ignacio de Velasco","MW",7.1010000000000009,7.1010000000000009,7.1010000000000009,7.1010000000000009,6.7919999999999998]
[null,"Las Misiones","MW",14.999999999999998,15,19.05,19.05,19.05]
[null,"Valles Cruceños","MW",6.48,6.48,8.1300000000000008,8.5,9.56]
[null,"Camiri","MW",6.5,7.1,8.25,10,11.75]
[null,"German Busch","MW",17.399999999999999,17.399999999999999,17.399999999999999,17.399999999999999,19.099999999999998]
[null,"Bermejo","MW",8.15,7.35,9.6,12.399999999999999,11.55]
[null,"Chiquitos","MW",4.84,4.84,4.84,4.84,7.2]
[null,"Huacaraje","MW",null,null,0.13,0.64800000000000002,0.39800000000000002]
[null,"Rosario del Yata","MW",null,null,null,0.17499999999999999,0.77312000000000014]
[null,"El Sena","MW",null,1.1000000000000001,1.2999999999999998,1.2999999999999998,1.2999999999999998]
[]
[]
[null,null,null,"Generacion Bruta (MWh)"]
[null,"Sistema",null,2014,2015,2016,2017,2018]
[null,"Cobija"]
[null,"Cobija Planta Solar","MWh",0,4794.3755010909099,5627.8183999999992,5776.1255999999994,5319.8761000000022]
[null,"Cobija Combustioble Fosil","MWh",52004.804699999993,56054.181291999994,55734.794489999993,56969.075999999994,57831.902999999998]
[null,"Riberalta","MWh",39754.100399999988,44000,47860,49359.07,54122.220000000008]
[null,"San Ignacio de Velasco","MWh",20118.833000000006,22009.939000000002,23362.835999999999,24446.846999999998,25906.172000000006]
[null,"Las Misiones","MWh",45834.749141093853,51150.008000000002,55241.41,59494.525999999991,58424.895768660623]
[null,"Valles Cruceños","MWh",24962.853000000003,27356.740999999998,30774.994530201344,33037.838000000003,34243.890999999996]
[null,"Camiri","MWh",26931.019,29769.716000000004,31023.121999999992,32518.518999999997,33217.416593452006]
[null,"German Busch","MWh",57328.465000000004,60886.547999999995,60284.14,55369.352999999996,57411.820999999996]
[null,"Bermejo","MWh",17625.435000000001,24367.993999999999,25069.998,27032.792000000005,28138.757000000001]
[null,"Chiquitos","MWh",16495.100058046999,18492.52734375,19606.297000000006,21045.854060999998,22087.9751005]
[null,"Huacaraje","MWh",null,null,190,679.30499999999995,680.3341416666666]
[null,"Rosario del Yata","MWh",null,null,null,58.606000000000009,171.51299999999998]
[null,"El Sena"]
[null,"El Sena Planta Solar","MWh",{"$nulls":4},95.87]
[null,"El Sena Combustioble Fosil","MWh",646.00490000000002,1248.1833999999999,1677.7593999999997,1881.0661,2213.192]
[]
[]
[null,null,null,"Energia Vendida (MWh)"]
[null,"Sistema",null,2014,2015,2016,2017,2018]
[null,"Cobija","MWh",42283.498689999993,48572.567869999999,51457.801999999996,52482.941159999995,55108.400999999998]
[null,"Riberalta","MWh",35106.71,39792.533000000003,42339.169999999991,43252.69,47213.729999999996]
[null,"San Ignacio de Velasco","MWh",17541.050999999999,19341.800999999999,20551.661,21797.431,22765.301999999996]
[null,"Las Misiones","MWh",37833.118999999999,41946.923999999992,46627.072999999997,48820.517,52336.572]
[null,"Valles Cruceños","MWh",21245.180999999997,23113.885000000002,25842.941999999999,27838.267,28619.399999999998]
[null,"Camiri","MWh",23118.461000000003,25565.341000000004,26937.044999999998,27085.858999999997,26869.606]
[null,"German Busch","MWh",49864.024999999994,55849.830000000009,55786.36,50334.797000000006,52818.988000000005]
[null,"Bermejo","MWh",19097.196999999996,19975.205000000002,20153.143000000004,21583.880999999998,22919.561000000002]
[null,"Chiquitos","MWh",13815.352999999999,15456.422000000002,16493.128000000001,17568.087,18401.253000000001]
[null,"Huacaraje","MWh",null,null,null,575.524,596.26700000000005]
[null,"Rosario del Yata","MWh",{"$nulls":4},132.07400000000001]
[null,"El Sena","MWh",327.1148,869.54600000000005,1342.3541000000002,1672.1505999999999,2105.6350000000002]
[]
[]
[null,null,null,"Cantidad usuarios"]
[null,"Sistema",null,2014,2015,2016,2017,2018]
[null,"Cobija",null,13895,14516,15424,15589,17092]
[null,"Riberalta",null,17883,19044,19779,20120,21407]
[null,"San Ignacio de Velasco",null,8812,9304,10720,11519,12184]
[null,"Las Misiones",null,18188,20295,22711,25616,28263]
[null,"Valles Cruceños",null,18160,20322,21825,22984,23104]
[null,"Camiri",null,11277,11944,13230,14167,14957]
[null,"German Busch",null,8646,9004,9991,10406,10771]
[null,"Bermejo",null,10731,11261,11717,12254,12941]
[null,"Chiquitos",null,6760,7040,7747,8138,8470]
[null,"Huacaraje",null,null,null,406,490,505]
[null,"Rosario del Yata",{"$nulls":5},148]
[null,"El Sena",null,238,447,647,883,976]
[]
[]
[null,null,null,"Consumo Combustible Fosil"]
[null,"Sistema",null,2014,2015,2016,2017,2018]
[null,"Cobija","Litros",13406.099,14382.120999999999,14611.594999999999,14853.701024046875,15908.519]
[null,"Riberalta","Litros",11267.231,15214.2,14037.7,14174.208000000001,15701.602999999999]
[null,"San Ignacio de Velasco","Litros",5569.6610000000001,6107.5820000000003,6427.6,6754.0240000000003,7250.9849999999997]
[null,"Las Misiones"]
[null,"Las Misiones Gas Natural","mpc",571963.42796784278,612920.54899999988,663158.38600000006,620081.93500000006,640147.59325666993]
[null,"Las Misiones Diesel","Litros",116.316,412.529,579.41200000000003,3507.2780006708795,3617.36598]
[null,"Valles Cruceños"]
[null,"Valles Gas Natural","mpc",284155.40100000001,313266.45,353773.35000000003,355513.28460000001,360015.70659999992]
[null,"Valles Diesel","Litros",0,0,30.18,1.38,5.15]
[null,"Camiri"]
[null,"Camiri Gas Natural","mpc",294214.14029697224,320543.55092341761,324808.4192879374,317579.27174145909,339259.18577000004]
[null,"Camiri Diesel","Litros",0,26.829000000000001,13.922000000000001,0,0]
[null,"German Busch","mpc",744218.66700000002,784928.69000000018,795439.49199999997,748755.08600000001,787872.44400000002]
[null,"Bermejo","mpc",0,282967.19999999995,292904.17000000004,368663.22899999999,401645.36199999996]
[null,"Chiquitos","mpc",178080.859,202608.06300730753,217565.0922305714,229197.23259043324,238334.33656033641]
[null,"Huacaraje","Litros",0,0,0,284.65100000000001,212.65]
[null,"Rosario del Yata","Litros",0,0,0,25.082999999999998,79.09]
[null,"El Sena","Litros",207.08499999899999,380.24799999999999,518.60700099999997,584.76199999999994,697.83399999999995]
[]
[]
[null,null,null,"Demanda Maxima"]
[null,"Sistema",null,2014,2015,2016,2017,2018]
[null,"Cobija","MW",null,null,11.57,11.45,12.36]
[null,"Riberalta","MW",null,null,8.9220000000000006,9.1549999999999994,9.8239999999999998]
[null,"San Ignacio de Velasco","MW",null,null,4.5794499999999996,4.6655860000000002,5.0506779999999996]
[null,"Las Misiones","MW",null,null,10.15507,11.0601664072266,11.7398552093505]
[null,"Valles Cruceños","MW",null,null,6.2857200000000004,6.4432310000000008,6.3408040000000003]
[null,"Camiri","MW",null,null,6.0750000000000002,6.03993,6.3780000000000001]
[null,"German Busch","MW",null,null,10.94204,9.6973780000000005,10.25271]
[null,"Bermejo","MW",null,null,5.91,5.96,6.1]
[null,"Chiquitos","MW",null,null,4.0962399999999999,4.5239889999999994,4.3802180000000002]
[null,"Huacaraje","MW",null,null,null,0.16900000000000001,0.159]
[null,"Rosario del Yata","MW",null,null,null,3.5999999999999997E-2,4.8000000000000001E-2]
[null,"El Sena","MW",null,null,0.43099999999999999,0.44500000000000001,0.67300000000000004]